# RFP for Gas Leak Detector

Material Included:

- ABS plastic Box

- TGS2610 (Covers LPG & Methane)

- TGS2611 (Covers Carbon mono oxide + Natural Gas)

- Buzzer

- LED/LCD

- Battery

- ESP2866 Microcontroller

- Power Adapter

Deliverables:

- PCB Design

- Functional Prototype (Including points in Material Included section)

- Application Design

- Code for

  - Mobile App (Android & iOS)

  - Type 1 & Type 2 Sensor

- Written instructions on sensor calibration

- Installation guidelines

  - Product

  - Mobile App

Type 1: Gas leak detector without App

- Ability to detect LPG(Methane), natural gas, coal gas, gas fuel, artificial gas, liquefied petroleum gas, liquefied natural gas etc.

- Alarm in case of Gas leakage.

- Digital readout of the GAS concentration

- Speaker to alert (85 Db) on

  - Gas leakage

  - Low battery warning

- Support 230 V 50 Hrtz electricity input

- Should have Type C plug for India users.

- Intuitive Design

- Include automatic battery backup in case of power cuts.

- Gas leak detector adopts Easy-to-install Design, can be used by plugging directly into the power socket to detect leaked gas.

- Low warm up time (<1 Minute)

- Reboot system button

- LED with Alarm indicator, state indicator and power/low battery indicator.

- Sensor must have the calibrate on

Type 2: Gas leak detector with Mobile App

- Ability to detect LPG(Methane), natural gas, coal gas, gas fuel, artificial gas, liquefied petroleum gas, liquefied natural gas etc.

- Alarm in case of Gas leakage.

- Digital readout of the GAS concentration

- Speaker to alert (85 Db) on

  - Gas leakage

  - Low battery warning

- Support 230 V 50 Hz electricity input

- Should have Type C plug for India users.

- Intuitive Design

- Include automatic battery backup in case of power cuts.

- Gas leak detector adopts Easy-to-install Design, can be used by plugging directly into the power socket to detect leaked gas.

- Low warm up time (<1 Minute)

- Reboot system button

- LED with Alarm indicator, state indicator and power/low battery indicator.

- Gas leak detector should be wifi enabled (IOT). The sensor must be connected to Wi-Fi 24*7.

- Code for further customization of gas sensor API for integrations with our company application.

- Mobile app for android and iphone. Apps must adhere to Apple and Google guidelines.

- Apps must successfully pass Apple's and Google's review processes.

- Assistance should be provided in creating certificates and provisioning profiles for Apple.

- Support should be available for obtaining signed APKs or Android app bundles.

- OTA support for any firmware updates in future.

- App can be installed on multiple devices with same user id and password.

- App configuration

  - Gas detector pairing option

  - Ability to add multiple gas detectors

- Alert notification for

  - Gas leak

  - Low battery

  - Heart beat signal